## Feuil1
BHARAT ALUMINIUM COMPANY LIMITED ( PLANT- II ) POTLINE, FUME TREATMENT PLANT
| DAILY REPORT (CONTROL ROOM) |  | DATE | 16-April-25
|  |  | 6 AM To 7 AM | 7 AM To 8 AM | 8 AM To 9 AM | 9 AM To 10 AM | 10 AM To 11 AM | 11 AM To 12 AM | 12 AM To 1 PM | 1 PM To 2 PM | 2 PM To 3 PM | 3 PM To 4 PM | 4 PM To 5 PM | 5 PM To 6 PM | 6 PM To 7 PM | 7 PM To 8 PM | 8 PM To 9 PM | 9 PM To 10 PM | 10 PM To 11 PM | 11 PM To 12 PM | 12 PM To 1 AM | 1 AM To 2 AM | 2 AM To 3 AM | 3 AM To 4 AM | 4 AM To 5 AM | 5 AM To 6 AM | MIN | MAX | AVG
MDRM_400_TT01.Val.PV | GTC inlet gas temperature section 7 | °C | 84.9143 | 85.419 | 85.2148 | 86.833 | 87.9273 | 88.8026 | 89.9628 | 91.7907 | 92.3046 | 93.8833 | 94.3508 | 93.8396 | 93.2298 | 93.8301 | 93.1456 | 92.8129 | 92.5118 | 90.6378 | 90.3614 | 90.1972 | 90.2053 | 90.1798 | 90.874 | 90.0291 | 84.4753 | 94.7963 | 90.5558
MDRM_500_TT01.Val.PV | GTC inlet gas temperature section 2 | °C | 129.1013 | 130.845 | 130.0644 | 133.2507 | 136.5018 | 139.2596 | 142.775 | 140.4125 | 139.6734 | 140.4164 | 138.1084 | 137.7672 | 137.0802 | 136.4447 | 137.1603 | 136.3263 | 132.9773 | 130.7364 | 128.7783 | 131.3085 | 130.383 | 129.7558 | 128.2916 | 127.6382 | 126.7172 | 144.3285 | 134.5941
MDRM_200_TT01.Val.PV | GTC inlet gas temperature section 8 | °C | 135.5158 | 134.3602 | 129.8069 | 130.772 | 133.5187 | 135.0555 | 133.6128 | 136.7968 | 137.5754 | 139.3228 | 141.2859 | 141.7606 | 142.1039 | 141.5734 | 141.3961 | 141.7916 | 139.943 | 140.4431 | 140.5767 | 138.4739 | 138.002 | 137.6834 | 135.3645 | 135.2479 | 127.1216 | 143.0722 | 137.4573
MDRM_300_TT01.Val.PV | GTC inlet gas temperature section 1 | °C | 126.1415 | 127.8938 | 129.1737 | 130.6251 | 132.3242 | 135.1255 | 136.0247 | 136.9908 | 138.4055 | 138.9148 | 137.4254 | 139.0787 | 137.7259 | 139.2691 | 139.0775 | 136.3705 | 134.1014 | 132.584 | 131.648 | 129.8115 | 129.0788 | 129.2187 | 129.0309 | 129.3308 | 123.1172 | 140.7285 | 133.6257
MDRM_600_TIT01_02.Val.PV | GTC inlet gas temperature section 1 and 8 | °C | 126.939 | 126.49 | 125.957 | 127.4159 | 129.4451 | 130.4357 | 130.5537 | 132.2817 | 133.4706 | 134.6588 | 135.2449 | 135.9252 | 136.1932 | 136.4227 | 136.0631 | 134.9233 | 132.7861 | 132.2104 | 130.8786 | 129.9089 | 129.4349 | 129.1254 | 128.368 | 128.2334 | 124.8564 | 137.1364 | 131.4087
MDRM_600_TIT03_04.Val.PV | GTC inlet gas temperature section 2 and 7 | °C | 125.6104 | 127.0587 | 126.2288 | 128.4859 | 132.3912 | 135.0569 | 136.3391 | 136.2659 | 136.3493 | 136.9135 | 136.1861 | 135.0158 | 134.6512 | 134.6904 | 134.3797 | 133.3066 | 131.0832 | 129.423 | 128.2264 | 129.1371 | 128.2932 | 127.404 | 126.9814 | 126.2721 | 124.5488 | 137.4128 | 131.611
MDRM_600_PIT03.Val.PV | GTC inlet pressure section 2 | kPa | -0.82898 | -0.8043 | -0.79265 | -0.80759 | -0.82891 | -0.82312 | -0.80887 | -0.80835 | -0.82991 | -0.84552 | -0.86198 | -0.88395 | -0.86389 | -0.84673 | -0.84103 | -0.84562 | -0.82949 | -0.82068 | -0.83122 | -0.84754 | -0.85164 | -0.84938 | -0.8455 | -0.85293 | -0.90438 | -0.75033 | -0.83569
MDRM_600_PIT04.Val.PV | GTC inlet pressure section 7 | kPa | -0.8068 | -0.7789 | -0.76659 | -0.78036 | -0.79782 | -0.78976 | -0.7784 | -0.77653 | -0.8008 | -0.80779 | -0.82459 | -0.85027 | -0.83045 | -0.81386 | -0.80769 | -0.81495 | -0.80102 | -0.79306 | -0.80126 | -0.82072 | -0.82325 | -0.82036 | -0.81451 | -0.82177 | -0.87135 | -0.71677 | -0.80534
MDRM_600_PIT01.Val.PV | GTC inlet pressure section 8 | kPa | -0.77536 | -0.78475 | -0.78436 | -0.77699 | -0.78194 | -0.77682 | -0.78117 | -0.78697 | -0.78594 | -0.7804 | -0.76907 | -0.75492 | -0.76021 | -0.76525 | -0.76598 | -0.75817 | -0.76134 | -0.76851 | -0.76812 | -0.76792 | -0.76855 | -0.76919 | -0.77604 | -0.77021 | -0.82035 | -0.71594 | -0.77255
MDRM_600_PIT02.Val.PV | GTC inlet pressure section 1 | kPa | -0.78475 | -0.80039 | -0.80043 | -0.79222 | -0.79937 | -0.79298 | -0.80074 | -0.8098 | -0.80725 | -0.79846 | -0.78116 | -0.75905 | -0.76572 | -0.77269 | -0.77352 | -0.7607 | -0.76492 | -0.77532 | -0.77252 | -0.77649 | -0.77729 | -0.77932 | -0.78959 | -0.78057 | -0.86069 | -0.70305 | -0.78437
FRESH_ALUMINA_FLOW_SP.ActualValue | Fresh alumina flow rate | T/h | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36 | 36
MBSS_001_FY01.Val.PV | GTC gas flow at stack | Nm3/s | 469.0911 | 466.6406 | 465.6187 | 465.3007 | 467.0083 | 465.5379 | 464.8818 | 467.1874 | 470.9143 | 471.662 | 473.4959 | 475.1131 | 470.8617 | 467.4459 | 467.5813 | 467.0311 | 466.4854 | 466.7116 | 482.0777 | 470.3863 | 470.8975 | 470.8061 | 470.4202 | 471.6692 | 420.7769 | 517.5111 | 468.8254
MBSS_001_AT01.Val.PV | HF measurement | mg/Nm3 | 0.16284 | 0.16862 | 0.13077 | 0.11396 | 0.11953 | 0.13136 | 0.12852 | 0.1233 | 0.11756 | 0.13848 | 0.17259 | 0.15829 | 0.13898 | 0.14907 | 0.17518 | 0.1366 | 0.12949 | 0.12327 | 0.14195 | 0.15171 | 0.17646 | 0.11178 | 0.11371 | 0.11788 | 0.097979 | 0.27955 | 0.13875
MBSS_001_XT01.Val.PV | Dust measurement | mg/Nm3 | 2.0713 | 2.2164 | 2.2405 | 2.4515 | 1.9857 | 2.0014 | 2.7539 | 2.7719 | 2.7784 | 3.024 | 2.1039 | 2.3764 | 2.8433 | 2.4395 | 2.1623 | 2.3141 | 2.697 | 2.2272 | 1.7999 | 2.4436 | 1.9495 | 1.6378 | 1.6471 | 1.757 | 0.3598 | 45.0483 | 2.2978
MKBB_010_XY01.Val.NBPULSE | Number of cleaning sequences for filter 1 | Pulse/h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MKBB_020_XY01.Val.NBPULSE | Number of cleaning sequences for filter 2 | Pulse/h | 177.5056 | 177.5556 | 177.4 | 177.5667 | 177.3444 | 177.4944 | 177.3667 | 177.2927 | 177.4222 | 177.3389 | 177.4778 | 177.3556 | 177.3722 | 177.3111 | 177.4222 | 177.4389 | 177.4778 | 177.4833 | 178 | 177.45 | 177.3167 | 177.3389 | 177.1944 | 177.2889 | 177 | 178 | 177.4015
MKBB_030_XY01.Val.NBPULSE | Number of cleaning sequences for filter 3 | Pulse/h | 177.4667 | 177.4611 | 177.4111 | 177.4889 | 177.3611 | 177.4 | 177.3167 | 177.2439 | 177.3944 | 177.2389 | 177.4389 | 177.35 | 177.3056 | 177.3722 | 177.2944 | 177.5056 | 177.3889 | 177.55 | 177 | 177.4111 | 177.3278 | 177.2556 | 177.2611 | 177.35 | 177 | 178 | 177.3739
MKBB_040_XY01.Val.NBPULSE | Number of cleaning sequences for filter 4 | Pulse/h | 177.3722 | 177.2611 | 177.35 | 177.3556 | 177.2167 | 177.2611 | 177.2833 | 177.2683 | 177.2389 | 177.2 | 177.3 | 177.1889 | 177.2 | 177.2056 | 177.2333 | 177.2389 | 177.3611 | 177.3 | 178 | 177.3556 | 177.1944 | 177.2611 | 177.2778 | 177.1833 | 177 | 178 | 177.2661
MKBB_050_XY01.Val.NBPULSE | Number of cleaning sequences for filter 5 | Pulse/h | 177.1667 | 177.2278 | 177.2278 | 176.4 | 173.0556 | 177.2167 | 177.2167 | 177.1098 | 177.1167 | 177.0889 | 177.2222 | 177.25 | 177.1056 | 177.1167 | 177.1944 | 177.2167 | 177.2833 | 177.1889 | 178 | 177.1833 | 177.1222 | 177.1889 | 174.6222 | 174.4111 | 172 | 178 | 176.7356
MKBB_060_XY01.Val.NBPULSE | Number of cleaning sequences for filter 6 | Pulse/h | 176.5889 | 177.3667 | 177.4889 | 177.3111 | 166.7333 | 175.8778 | 177.4056 | 177.378 | 177.3056 | 177.4222 | 177.2722 | 177.4611 | 177.2778 | 177.2222 | 177.4278 | 177.35 | 177.4833 | 177.3833 | 178 | 177.3944 | 177.2278 | 177.3611 | 177.1833 | 177.2 | 165 | 178 | 176.7865
MKBB_070_XY01.Val.NBPULSE | Number of cleaning sequences for filter 7 | Pulse/h | 177.1056 | 177.1278 | 177.1056 | 177.0667 | 177.05 | 177.0167 | 177.0167 | 177.0366 | 171.9556 | 174.7667 | 177.0278 | 177.05 | 176.95 | 176.9611 | 177.0167 | 177.0833 | 177.0778 | 177.0722 | 177 | 177.0667 | 176.9167 | 177.0222 | 177.0389 | 177.1167 | 169 | 178 | 176.7228
MKBB_080_XY01.Val.NBPULSE | Number of cleaning sequences for filter 8 | Pulse/h | 177.3778 | 177.4667 | 177.35 | 177.5611 | 177.3333 | 177.4778 | 177.3889 | 177.2744 | 174.1556 | 176.2111 | 177.3611 | 177.4722 | 177.1833 | 177.3611 | 177.4333 | 177.3833 | 177.5056 | 177.3611 | 177 | 172.35 | 176.1556 | 177.4056 | 177.3056 | 177.2833 | 171 | 178 | 176.9186
MKBB_090_XY01.Val.NBPULSE | Number of cleaning sequences for filter 9 | Pulse/h | 177.4222 | 177.3167 | 177.2833 | 177.4222 | 177.3167 | 177.3722 | 177.3333 | 177.2805 | 173.1889 | 161.8611 | 177.3167 | 177.3778 | 177.2833 | 177.2667 | 177.3944 | 177.4333 | 177.3444 | 177.4167 | 177 | 172.6722 | 177.25 | 177.2222 | 177.2111 | 177.25 | 158 | 178 | 176.2677
MKBB_100_XY01.Val.NBPULSE | Number of cleaning sequences for filter 10 | Pulse/h | 177.4778 | 177.3889 | 177.4 | 177.5 | 177.4056 | 177.4889 | 177.3056 | 177.3963 | 177.3056 | 177.35 | 177.4333 | 177.3833 | 177.3222 | 177.2611 | 177.5722 | 177.4056 | 177.4389 | 177.4222 | 178 | 173.4 | 175.8556 | 177.3667 | 177.2722 | 177.3111 | 172 | 178 | 177.1502
MKBB_110_XY01.Val.NBPULSE | Number of cleaning sequences for filter 11 | Pulse/h | 196.4611 | 196.4333 | 196.3944 | 196.4056 | 196.3833 | 196.3889 | 196.3722 | 196.3902 | 196.3667 | 196.3278 | 196.4278 | 196.4167 | 196.4056 | 196.2667 | 196.3556 | 196.4611 | 196.4 | 196.5111 | 196.3333 | 196.4111 | 196.2722 | 196.3944 | 196.1333 | 196.1722 | 196 | 197 | 196.3717
MKBB_120_XY01.Val.NBPULSE | Number of cleaning sequences for filter 12 | Pulse/h | 177.2944 | 177.35 | 177.2778 | 177.35 | 177.3944 | 177.2167 | 177.2167 | 177.2866 | 177.1944 | 177.2111 | 177.3111 | 177.2611 | 177.1389 | 177.1667 | 177.3167 | 177.2111 | 177.2611 | 177.3611 | 177 | 177.2556 | 177.1722 | 177.2444 | 177.0667 | 177.1611 | 177 | 178 | 177.2484
MKBB_130_XY01.Val.NBPULSE | Number of cleaning sequences for filter 13 | Pulse/h | 177.3833 | 177.2444 | 177.3833 | 177.3222 | 177.2111 | 177.2611 | 177.2667 | 177.2683 | 177.1889 | 177.2611 | 177.2889 | 177.1833 | 177.25 | 177.2111 | 177.2111 | 177.2889 | 177.3833 | 177.2611 | 178 | 177.3167 | 177.15 | 177.2111 | 177.0389 | 176.95 | 176 | 178 | 177.2411
MKBB_140_XY01.Val.NBPULSE | Number of cleaning sequences for filter 14 | Pulse/h | 177.5167 | 177.4 | 177.4889 | 177.3444 | 177.5111 | 177.3111 | 177.4389 | 177.378 | 177.3667 | 177.3833 | 177.2722 | 177.4778 | 177.2778 | 177.3222 | 177.4389 | 177.3889 | 177.5222 | 177.3444 | 177 | 177.2833 | 177.3444 | 177.4 | 177.1722 | 177.3167 | 177 | 178 | 177.378
MKBB_150_XY01.Val.NBPULSE | Number of cleaning sequences for filter 15 | Pulse/h | 177.3722 | 177.2444 | 177.4 | 177.3222 | 177.3056 | 176.0944 | 177.0611 | 177.3354 | 175.8 | 174.2222 | 177.3667 | 177.3556 | 177.2278 | 177.3 | 177.3167 | 177.4111 | 177.4389 | 175.5556 | 174 | 177.3056 | 177.3556 | 177.3056 | 177.2056 | 177.2333 | 172 | 178 | 176.9763
MKBB_160_XY01.Val.NBPULSE | Number of cleaning sequences for filter 16 | Pulse/h | 177.5944 | 177.3278 | 177.4833 | 177.3778 | 177.4611 | 177.3833 | 177.4444 | 177.3659 | 175.7833 | 173.55 | 177.1167 | 177.3722 | 177.3111 | 177.3833 | 177.3944 | 177.5167 | 177.45 | 177.5 | 178 | 177.4722 | 177.2889 | 177.3889 | 177.0833 | 177 | 172 | 178 | 177.1323
MKBB_170_XY01.Val.NBPULSE | Number of cleaning sequences for filter 17 | Pulse/h | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MKBB_180_XY01.Val.NBPULSE | Number of cleaning sequences for filter 18 | Pulse/h | 177.5778 | 177.6167 | 177.4889 | 177.6389 | 177.5667 | 177.5611 | 177.6056 | 177.4695 | 177.5556 | 177.4222 | 177.5889 | 177.65 | 177.4556 | 177.6111 | 177.5611 | 177.55 | 177.5278 | 177.5222 | 178 | 177.4778 | 177.5722 | 177.4222 | 176.9667 | 176.85 | 176 | 178 | 177.4899
MKBB_010_PDIT01.Val.PV | Filter 1 pressure drop | kPa | 0.99571 | 1.1233 | 1.1964 | 1.2201 | 1.1266 | 1.1708 | 1.1412 | 1.0758 | 1.0127 | 1.0049 | 0.99915 | 0.96537 | 0.97284 | 0.99224 | 1.008 | 1.0362 | 1.093 | 1.1093 | 1.0903 | 1.0703 | 1.0762 | 1.0612 | 1.0275 | 1.0226 | 0.80855 | 1.4065 | 1.0653
MKBB_020_PDIT01.Val.PV | Filter 2 pressure drop | kPa | 1.8126 | 1.8847 | 2.0043 | 1.9781 | 1.7903 | 1.841 | 1.7981 | 1.7173 | 1.6109 | 1.5776 | 1.589 | 1.567 | 1.6211 | 1.6733 | 1.6873 | 1.7202 | 1.7914 | 1.8161 | 1.7672 | 1.7131 | 1.7297 | 1.7965 | 1.7704 | 1.7627 | 1.5287 | 2.0938 | 1.7503
MKBB_030_PDIT01.Val.PV | Filter 3 pressure drop | kPa | 2.0009 | 2.1189 | 2.2271 | 2.1603 | 2.005 | 2.0701 | 2.0456 | 1.936 | 1.8703 | 1.845 | 1.8181 | 1.7489 | 1.6661 | 1.7394 | 1.7278 | 1.7417 | 1.8241 | 1.9284 | 1.9865 | 1.8879 | 1.8692 | 1.835 | 1.7657 | 1.7803 | 1.5749 | 2.2807 | 1.8961
MKBB_040_PDIT01.Val.PV | Filter 4 pressure drop | kPa | 1.9427 | 2.0333 | 2.1457 | 2.0806 | 1.8521 | 1.848 | 1.8195 | 1.7099 | 1.6488 | 1.5982 | 1.5866 | 1.4935 | 1.4802 | 1.5393 | 1.5424 | 1.6069 | 1.6902 | 1.7221 | 1.7739 | 1.68 | 1.6396 | 1.6605 | 1.6071 | 1.6092 | 1.405 | 2.2064 | 1.719
MKBB_050_PDIT01.Val.PV | Filter 5 pressure drop | kPa | 1.7054 | 1.7405 | 1.8605 | 1.7544 | 1.6766 | 1.7827 | 1.789 | 1.6951 | 1.6095 | 1.6228 | 1.6498 | 1.6288 | 1.5343 | 1.4714 | 1.4657 | 1.5081 | 1.5955 | 1.6372 | 1.6268 | 1.5413 | 1.5894 | 1.5757 | 1.4674 | 1.5344 | 0.042857 | 1.9689 | 1.6274
MKBB_060_PDIT01.Val.PV | Filter 6 pressure drop | kPa | 1.6918 | 1.8548 | 2.0338 | 1.8655 | 1.5341 | 1.8012 | 1.9018 | 1.8778 | 1.7637 | 1.7343 | 1.7706 | 1.7229 | 1.8187 | 1.8779 | 1.9276 | 1.9378 | 1.9691 | 2.1424 | 2.0921 | 2.0231 | 2.0281 | 2.07 | 2.0128 | 2.0051 | -0.027258 | 2.2397 | 1.8856
MKBB_070_PDIT01.Val.PV | Filter 7 pressure drop | kPa | 1.7812 | 1.8185 | 1.9089 | 1.8861 | 1.7001 | 1.7469 | 1.7263 | 1.6908 | 1.3476 | 1.3409 | 1.478 | 1.5711 | 1.6777 | 1.7343 | 1.7515 | 1.7813 | 1.7958 | 1.7729 | 1.7395 | 1.4504 | 1.6131 | 1.7553 | 1.7406 | 1.7617 | -0.049165 | 2.0208 | 1.6884
MKBB_080_PDIT01.Val.PV | Filter 8 pressure drop | kPa | 1.5874 | 1.5957 | 1.7006 | 1.6694 | 1.5217 | 1.5607 | 1.5357 | 1.5104 | 1.3025 | 1.3517 | 1.3913 | 1.3924 | 1.4892 | 1.5684 | 1.5752 | 1.5916 | 1.7135 | 1.7563 | 1.6921 | 1.4132 | 1.6566 | 1.7769 | 1.7674 | 1.7761 | -0.10829 | 1.9119 | 1.5744
MKBB_090_PDIT01.Val.PV | Filter 9 pressure drop | kPa | 1.8212 | 1.8167 | 1.8972 | 1.8882 | 1.7502 | 1.7763 | 1.7352 | 1.7178 | 1.3739 | 1.4044 | 1.5781 | 1.6081 | 1.7565 | 1.8397 | 1.8482 | 1.8623 | 1.8249 | 1.768 | 1.7766 | 1.6687 | 1.7737 | 1.8937 | 1.8867 | 1.8511 | -0.03299 | 2.0149 | 1.7541
MKBB_100_PDIT01.Val.PV | Filter 10 pressure drop | kPa | 1.4104 | 1.5104 | 1.5876 | 1.5522 | 1.4052 | 1.432 | 1.4276 | 1.3955 | 1.3055 | 1.2809 | 1.2743 | 1.2178 | 1.2923 | 1.3804 | 1.4191 | 1.4336 | 1.513 | 1.542 | 1.5361 | 1.0528 | 1.1539 | 1.2223 | 1.1912 | 1.1596 | 0 | 1.6805 | 1.3547
MKBB_110_PDIT01.Val.PV | Filter 11 pressure drop | kPa | 1.9654 | 2.0785 | 2.2151 | 2.1732 | 1.9513 | 1.991 | 1.9604 | 1.9014 | 1.7605 | 1.7159 | 1.7184 | 1.6555 | 1.7063 | 1.7861 | 1.816 | 1.8547 | 1.9705 | 1.9565 | 1.9593 | 1.8163 | 1.8507 | 1.9171 | 1.8794 | 1.8681 | 1.5831 | 2.3193 | 1.8917
MKBB_120_PDIT01.Val.PV | Filter 12 pressure drop | kPa | 1.3483 | 1.4341 | 1.5223 | 1.4951 | 1.339 | 1.3724 | 1.3493 | 1.3045 | 1.1923 | 1.1512 | 1.121 | 1.0821 | 1.1527 | 1.2144 | 1.2427 | 1.2606 | 1.3451 | 1.3732 | 1.3225 | 1.2268 | 1.2518 | 1.2802 | 1.2702 | 1.2555 | 1.0427 | 1.5964 | 1.2862
MKBB_130_PDIT01.Val.PV | Filter 13 pressure drop | kPa | 1.8379 | 1.9541 | 2.0861 | 2.037 | 1.8268 | 1.8701 | 1.8457 | 1.7727 | 1.6382 | 1.6053 | 1.5727 | 1.5181 | 1.601 | 1.6763 | 1.7038 | 1.7276 | 1.8054 | 1.8381 | 1.7909 | 1.6972 | 1.7052 | 1.7761 | 1.7614 | 1.7505 | 1.4814 | 2.1758 | 1.7655
MKBB_140_PDIT01.Val.PV | Filter 14 pressure drop | kPa | 2.054 | 2.1295 | 2.2108 | 2.175 | 2.0501 | 2.0984 | 2.0504 | 1.9783 | 1.8627 | 1.8201 | 1.8208 | 1.7709 | 1.8367 | 1.9024 | 1.9127 | 1.9439 | 2.0375 | 2.0816 | 2.0534 | 1.9614 | 1.9498 | 2.0154 | 1.9766 | 1.9533 | 1.6557 | 2.348 | 1.9823
MKBB_150_PDIT01.Val.PV | Filter 15 pressure drop | kPa | 2.0071 | 2.1379 | 2.2795 | 2.2312 | 1.9805 | 2.049 | 1.926 | 1.6352 | 1.3556 | 1.5956 | 1.6525 | 1.6409 | 1.7198 | 1.8215 | 1.8595 | 1.8588 | 1.7917 | 1.6349 | 1.7573 | 1.7824 | 1.8141 | 1.9076 | 1.9121 | 1.9145 | -0.049636 | 2.406 | 1.849
MKBB_160_PDIT01.Val.PV | Filter 16 pressure drop | kPa | 1.8996 | 1.9391 | 2.0468 | 2.0304 | 1.8849 | 1.9373 | 1.8586 | 1.8496 | 1.6491 | 1.6357 | 1.6755 | 1.6549 | 1.7588 | 1.8447 | 1.8717 | 1.8804 | 1.8508 | 1.8211 | 1.8158 | 1.7889 | 1.7681 | 1.7737 | 1.7193 | 1.7157 | -0.026944 | 2.1582 | 1.8196
MKBB_170_PDIT01.Val.PV | Filter 17 pressure drop | kPa | 1.8061 | 1.8994 | 2.0042 | 1.9991 | 1.8611 | 1.8605 | 1.819 | 2.0223 | 1.9261 | 1.9003 | 1.8531 | 1.8101 | 1.8231 | 1.7314 | 1.623 | 1.705 | 1.8039 | 1.7823 | 1.8376 | 1.7999 | 1.7707 | 1.7601 | 1.7106 | 1.706 | -0.0098277 | 2.1524 | 1.8243
MKBB_180_PDIT01.Val.PV | Filter 18 pressure drop | kPa | 2.1245 | 2.2254 | 2.3342 | 2.2943 | 2.1111 | 2.1215 | 2.0507 | 2.0585 | 1.9627 | 1.9006 | 1.8308 | 1.766 | 1.8694 | 1.9202 | 1.9134 | 1.9457 | 2.0479 | 2.0578 | 1.9577 | 1.9445 | 1.9529 | 1.9703 | 1.9713 | 1.9731 | 1.6593 | 2.47 | 2.0149
P000_100_PIT01.Val.PV | Fresh Alumina HDPS Pressure | kPa | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25 | 25
P000_200_PIT01.Val.PV | Instrumentation air pressure | kPa | 3.3697 | 3.304 | 3.0978 | 3.2399 | 3.2484 | 3.141 | 3.2206 | 3.4374 | 3.4893 | 3.371 | 3.0926 | 3.3229 | 3.4458 | 3.2539 | 3.2345 | 3.2852 | 3.4426 | 3.3304 | 3.2344 | 3.3964 | 3.3915 | 3.1715 | 3.3282 | 3.3984 | 2.738 | 3.6074 | 3.3044
P000_300_PIT01.Val.PV | Silo fluidization air pressure | kPa | 30.1684 | 30.0504 | 29.9777 | 30.0064 | 29.9746 | 30.0215 | 29.9676 | 30.021 | 30.0274 | 21.047 | 27.6593 | 29.9795 | 29.9024 | 29.7943 | 29.7564 | 29.8245 | 29.8194 | 29.7796 | 29.8609 | 29.9441 | 29.9995 | 30.0295 | 30.0099 | 29.91 | 2.427 | 30.2591 | 29.4619
P000_500_PIT01.Val.PV |  | kPa | 29.5309 | 29.5784 | 29.5985 | 29.5496 | 29.5275 | 29.5108 | 29.4809 | 29.5228 | 29.5018 | 29.5448 | 29.5219 | 29.5285 | 29.5223 | 29.5311 | 29.4745 | 29.499 | 29.5016 | 29.4906 | 29.4384 | 29.5589 | 29.5105 | 29.4842 | 29.5031 | 29.4719 | 29.3631 | 29.6919 | 29.5193
P000_400_PIT01.Val.PV | Airslide fluidization air pressure | kPa | 10.1858 | 10.3725 | 10.451 | 10.4901 | 10.2311 | 10.2543 | 10.2743 | 10.2647 | 10.2518 | 10.2289 | 10.2224 | 10.1962 | 10.2593 | 10.2392 | 10.2029 | 10.2484 | 10.3663 | 10.4759 | 10.2818 | 10.2709 | 10.3027 | 10.287 | 10.3096 | 10.3159 | 10.1124 | 10.6605 | 10.2915
P000_700_PIT01.Val.PV | Hopper bottom fluidization air pressure | kPa | 15.9393 | 15.9137 | 16.0375 | 15.9833 | 15.8638 | 16.274 | 16.2178 | 16.1517 | 16.0589 | 15.9474 | 15.9238 | 15.9461 | 16.0041 | 16.0043 | 16.0242 | 16.1544 | 16.2294 | 16.2551 | 16.284 | 16.175 | 16.2081 | 16.2441 | 16.2285 | 16.218 | 15.6718 | 16.4594 | 16.0869
P000_300_PIT01.Val.PV | Hopper bottom fluidization air pressure | kPa | 30.1684 | 30.0504 | 29.9777 | 30.0064 | 29.9746 | 30.0215 | 29.9676 | 30.021 | 30.0274 | 21.047 | 27.6593 | 29.9795 | 29.9024 | 29.7943 | 29.7564 | 29.8245 | 29.8194 | 29.7796 | 29.8609 | 29.9441 | 29.9995 | 30.0295 | 30.0099 | 29.91 | 2.427 | 30.2591 | 29.4619
P000_900_PIT01.Val.PV | Airlift air pressure | kPa | 43.9263 | 52.4868 | 53.0013 | 53.1153 | 44.9038 | 38.8874 | 47.1916 | 47.0429 | 45.0402 | 45.5483 | 46.2183 | 42.331 | 49.5141 | 51.5267 | 50.1909 | 49.4297 | 51.9109 | 52.4602 | 49.0336 | 45.0532 | 47.5546 | 44.0928 | 50.8231 | 51.6375 | 29.4924 | 55.6718 | 47.999
MT00_001_LT01.Val.PV | Fresh alumina silo level | % | 2856.3855 | 2785.4524 | 2687.2799 | 2690.5502 | 2659.1854 | 2706.3954 | 2745.0183 | 2803.1142 | 2826.7657 | 2821.4554 | 2797.4862 | 2822.6935 | 2830.9833 | 2753.2045 | 2774.9395 | 2793.0312 | 2751.0486 | 2632.6089 | 2601.8019 | 2674.3244 | 2712.087 | 2804.9142 | 2800.6359 | 2694.1134 | 2589.8665 | 2911.625 | 2757.2611
MT00_002_LT01.Val.PV | Reacted alumina silo level | % | 2618.2313 | 2611.9625 | 2634.7485 | 2660.3242 | 2682.0668 | 2634.4155 | 2608.8836 | 2601.7853 | 2628.2625 | 2628.2169 | 2583.9826 | 2566.6318 | 2544.7304 | 2565.2728 | 2578.6997 | 2583.8863 | 2584.121 | 2614.7215 | 2652.5291 | 2616.7223 | 2607.2818 | 2568.7592 | 2576.3973 | 2585.6155 | 2483.3362 | 2753.1094 | 2603.7699
MAAG_001_M1.Val.RunTime | Running time for pressurisation fan 1 | Hours | 790 | 790 | 790 | 790.6278 | 791.6278 | 792.6278 | 793.6278 | 794.6881 | 795.625 | 796.625 | 797.625 | 798.625 | 799.6222 | 800.625 | 801.625 | 802.6222 | 803.6222 | 804.6222 | 805 | 806.624 | 807.6222 | 808 | 808 | 808 | 790 | 808 | 798.8317
MAAG_002_M1.Val.RunTime | Running time for pressurisation fan 2 | Hours | 1051.5139 | 1052.5111 | 1053.5111 | 1054.5111 | 1055.5111 | 1056.5111 | 1057.5111 | 1058.5596 | 1059.5083 | 1060.5083 | 1061.5083 | 1062.5083 | 1063.5083 | 1064.5083 | 1065.5083 | 1066.5083 | 1067.5083 | 1068.5083 | 1069 | 1070.507 | 1071.5056 | 1072.5056 | 1073.5056 | 1074.5056 | 1051 | 1075 | 1062.7479
MAAG_003_M1.Val.RunTime | Running time for pressurisation fan 3 | Hours | 2718.1944 | 2719.1944 | 2720.1944 | 2721.1944 | 2722.1944 | 2723.1944 | 2724.1944 | 2725.211 | 2726.1917 | 2727.1917 | 2728.1917 | 2729.1889 | 2730.1889 | 2731.1917 | 2732.1917 | 2733.1889 | 2734.1889 | 2735.1889 | 2736 | 2737.1894 | 2738.1889 | 2739.1889 | 2740.1889 | 2741.1889 | 2718 | 2742 | 2729.4294
MACG_100_M1.Val.RunTime | Running time for airslide blower 01 | Hours | 1226.1861 | 1227.1861 | 1228.1861 | 1229.1861 | 1230.1861 | 1231.1861 | 1232.1861 | 1233.2018 | 1234.1833 | 1235.1833 | 1236.1833 | 1237.1833 | 1238.1833 | 1239.1833 | 1240.1833 | 1241.1833 | 1242.1833 | 1243.1833 | 1244 | 1245.1811 | 1246.1806 | 1247.1806 | 1248.1806 | 1249.1806 | 1226 | 1250 | 1237.4216
MACG_200_M1.Val.RunTime | Running time for airslide blower 02 | Hours | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883 | 883
MACG_300_M1.Val.RunTime | Running time for fluidization blower 01 | Hours | 1302.5361 | 1303.5361 | 1304.5361 | 1305.5361 | 1306.5333 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1307 | 1302 | 1307 | 1306.4624
MACG_400_M1.Val.RunTime | Running time for fluidization blower 02 | Hours | 909 | 909 | 909 | 909 | 909 | 909.6694 | 910.6694 | 911.737 | 912.6667 | 913.6667 | 914.6667 | 915.6667 | 916.6667 | 917.6667 | 918.6667 | 919.6667 | 920.6667 | 921.6667 | 922 | 923.6685 | 924.6639 | 925.6639 | 926.6639 | 927.6639 | 909 | 928 | 916.4153
MACG_500_M1.Val.RunTime | Running time for fluidization blower 03 | Hours | 9.9667 | 10.9667 | 11.9667 | 12.9667 | 13.9667 | 14.9667 | 15.9667 | 16.9725 | 17.9639 | 18.9639 | 19.9639 | 20.9639 | 21.9639 | 22.9639 | 23.9639 | 24.9639 | 25.9639 | 26.9639 | 27 | 28.9638 | 29.9611 | 30.9611 | 31.9611 | 32.9611 | 9 | 33 | 21.2014
MACS_001_M1.Val.RunTime | Running time for exhaust fan 01 | Hours | 1212.6167 | 1213.6167 | 1214.6167 | 1215.6167 | 1216.6139 | 1217.6167 | 1218.6167 | 1219.6758 | 1220.6139 | 1221.6111 | 1222.6139 | 1223.6139 | 1224.6111 | 1225.6139 | 1226.6139 | 1227.6111 | 1228.6111 | 1229.6111 | 1230 | 1231.6128 | 1232.6111 | 1233.6111 | 1234.6111 | 1235.6111 | 1212 | 1236 | 1223.853
MACS_002_M1.Val.RunTime | Running time for exhaust fan 02 | Hours | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215 | 215
MACS_003_M1.Val.RunTime | Running time for exhaust fan 03 | Hours | 4295.8417 | 4296.8417 | 4297.8417 | 4298.8417 | 4299.8389 | 4300.8389 | 4301.8417 | 4302.9235 | 4303.8389 | 4304.8361 | 4305.8389 | 4306.8389 | 4307.8361 | 4308.8361 | 4309.8361 | 4310.8361 | 4311.8361 | 4312.8361 | 4313 | 4314.8384 | 4315.8361 | 4316.8361 | 4317.8361 | 4318.8361 | 4295 | 4319 | 4307.0784
MACS_004_M1.Val.RunTime | Running time for exhaust fan 04 | Hours | 2775.425 | 2776.425 | 2777.425 | 2778.425 | 2779.425 | 2780.425 | 2781.425 | 2782.4648 | 2783.425 | 2784.4222 | 2785.4222 | 2786.4222 | 2787.4222 | 2788.4222 | 2789.4222 | 2790.4222 | 2791.4222 | 2792.4222 | 2793 | 2794.4206 | 2795.4194 | 2796.4194 | 2797.4222 | 2798.4194 | 2775 | 2799 | 2786.6616
MARO_100_M1.Val.RunTime | Running time for airlift root 01 | Hours | 1652.3806 | 1653.3806 | 1654.3833 | 1655.3833 | 1656.3806 | 1657.3806 | 1658.3806 | 1659.419 | 1660.3806 | 1661.3778 | 1662.3778 | 1663.3778 | 1664.3778 | 1665.3778 | 1666.3778 | 1667.3778 | 1668.3778 | 1669.3778 | 1670 | 1671.376 | 1672.375 | 1673.3778 | 1674.3778 | 1675.375 | 1652 | 1676 | 1663.6175
MARO_200_M1.Val.RunTime | Running time for airlift root 02 | Hours | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430 | 1430
MARO_300_M1.Val.RunTime | Running time for enriched alumina | Hours | 647.1583 | 648.1583 | 649.1611 | 650.1611 | 651.1583 | 652.1583 | 653.1583 | 654.1743 | 655.1583 | 656.1556 | 657.1556 | 658.1556 | 659.1556 | 660.1556 | 661.1556 | 662.1556 | 663.1556 | 664.1556 | 665 | 666.1532 | 667.1528 | 668.1528 | 669.1556 | 670.1528 | 647 | 671 | 658.3944
MARO_400_M1.Val.RunTime | Running time for fresh alumina | Hours | 1945.3917 | 1946.3917 | 1947.3917 | 1948.3917 | 1949.3917 | 1950.3917 | 1951.3917 | 1952.4281 | 1953.3889 | 1954 | 1954.9361 | 1955.9361 | 1956.9361 | 1957.9361 | 1958.9361 | 1959.9361 | 1960.9361 | 1961.9361 | 1962 | 1963.9387 | 1964.9333 | 1965.9333 | 1966.9333 | 1967.9361 | 1945 | 1968 | 1956.3539
MARO_500_M1.Val.RunTime | Running time for alumina | Hours | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014 | 1014
MLGO_001_M1.Val.RunTime | Running time for vibrating screen | Hours | 512.3611 | 513.3611 | 514.3611 | 515.3611 | 516.3611 | 517.3611 | 518.3611 | 519.3945 | 520.3583 | 521.3583 | 522.3583 | 523.3556 | 524.3556 | 525.3583 | 526.3583 | 527.3556 | 528.3556 | 529.3556 | 530 | 531.3565 | 532.3556 | 533.3556 | 534.3556 | 535.3556 | 512 | 536 | 523.5959
MACS_001_TT01.Val.PV | ID fan 01 bearing temperature DE | °C | 67.7682 | 67.9386 | 67.9286 | 68.0532 | 69.2644 | 70.9235 | 71.9772 | 72.9458 | 73.592 | 74.2728 | 74.8313 | 75.1086 | 75.2268 | 74.9637 | 74.6638 | 74.1695 | 72.8631 | 71.8251 | 71.3985 | 70.7987 | 70.4755 | 69.8709 | 69.6578 | 69.351 | 67.5878 | 75.3443 | 71.6677
MACS_001_TT02.Val.PV | ID fan 01 bearing temperature NDE | °C | 62.8371 | 63.0226 | 62.9452 | 63.1349 | 64.5344 | 66.3703 | 67.6967 | 68.7273 | 69.5092 | 70.5025 | 71.1328 | 71.5691 | 71.7821 | 71.6134 | 71.2657 | 70.6225 | 68.9973 | 67.7242 | 67.155 | 66.4874 | 66.0366 | 65.3511 | 65.0838 | 64.6912 | 62.655 | 71.8748 | 67.4574
MACS_002_TT01.Val.PV | ID fan 02 bearing temperature DE | °C | 46.7758 | 46.3275 | 46.0024 | 45.7678 | 45.6065 | 45.7542 | 46.1858 | 46.866 | 47.3188 | 47.8957 | 48.6225 | 49.3645 | 50.0826 | 50.664 | 51.0617 | 51.2836 | 51.4178 | 51.2738 | 51.1566 | 50.6477 | 50.2957 | 49.8591 | 49.3986 | 48.9655 | 45.5689 | 51.5185 | 48.5928
MACS_002_TT02.Val.PV | ID fan 02 bearing temperature NDE | °C | 41.6621 | 41.1935 | 41.0067 | 40.7859 | 41.1141 | 42.0433 | 43.1265 | 44.2859 | 45.456 | 46.6348 | 47.7519 | 48.7044 | 49.4027 | 49.903 | 50.2567 | 50.4325 | 49.8188 | 48.7481 | 48.2139 | 46.7725 | 45.9926 | 45.1972 | 44.4861 | 43.8988 | 40.7391 | 50.5429 | 45.6015
MACS_003_TT01.Val.PV | ID fan 03 bearing temperature DE | °C | 63.2346 | 63.8113 | 63.7116 | 63.9396 | 65.9794 | 68.1217 | 69.3594 | 70.6036 | 71.7081 | 72.6041 | 73.2292 | 73.4885 | 73.6303 | 73.6121 | 73.3352 | 72.451 | 70.0797 | 68.2919 | 67.5947 | 66.8793 | 66.3447 | 65.6104 | 65.4385 | 65.0722 | 62.8199 | 73.7367 | 68.7109
MACS_003_TT02.Val.PV | ID fan 03 bearing temperature NDE | °C | 62.4139 | 62.7086 | 62.6904 | 63.001 | 64.5229 | 66.396 | 67.7734 | 68.9482 | 69.9033 | 70.9203 | 71.6823 | 71.9805 | 72.1132 | 72.0069 | 71.631 | 70.9509 | 69.3854 | 67.7569 | 67.0085 | 66.2077 | 65.6638 | 64.9248 | 64.6542 | 64.3295 | 62.1329 | 72.1909 | 67.4969
MACS_004_TT01.Val.PV | ID fan 04 bearing temperature DE | °C | 63.1431 | 63.4923 | 63.4328 | 63.5173 | 64.9524 | 66.8554 | 68.1672 | 69.1371 | 70.02 | 70.663 | 71.1898 | 71.5508 | 71.5928 | 71.6726 | 71.6729 | 70.9737 | 68.7875 | 67.1815 | 66.5046 | 65.8424 | 65.4943 | 64.8537 | 64.7064 | 64.306 | 62.8886 | 71.8268 | 67.5237
MACS_004_TT02.Val.PV | ID fan 04 bearing temperature NDE | °C | 60.2628 | 60.8472 | 60.7709 | 60.8893 | 63.0365 | 65.8937 | 67.6423 | 68.8127 | 69.8422 | 70.5705 | 71.1527 | 71.5244 | 71.6202 | 71.6911 | 71.709 | 70.896 | 68.3757 | 65.8761 | 64.826 | 63.9255 | 63.4174 | 62.5467 | 62.4216 | 61.8895 | 59.7627 | 71.8405 | 66.3203
MACS_001_TT16.Val.PV | ID fan 01 bearing temperature motor DE | °C | 53.0758 | 53.2502 | 53.3943 | 53.9194 | 56.1759 | 59.6423 | 62.1116 | 64.0372 | 65.5761 | 66.4835 | 67.1129 | 67.0597 | 66.8886 | 66.0401 | 65.167 | 64.4215 | 62.8235 | 60.9633 | 60.1325 | 59.0389 | 58.2921 | 57.0558 | 56.7047 | 56.1418 | 52.9909 | 67.2543 | 60.6551
MACS_001_TT17.Val.PV | ID fan 01 bearing temperature motor NDE | °C | 33.9622 | 34.2002 | 34.6035 | 35.5967 | 38.1764 | 41.1706 | 42.7549 | 44.429 | 45.8029 | 46.6981 | 47.4531 | 47.198 | 46.9617 | 45.8557 | 45.0176 | 43.7529 | 41.3325 | 40.0613 | 39.5817 | 38.5972 | 38.2066 | 37.459 | 37.2442 | 36.8116 | 33.9082 | 47.673 | 41.0008
MACS_002_TT16.Val.PV | ID fan 02 bearing temperature motor DE | °C | 37.7653 | 37.3613 | 37.1364 | 37.0831 | 37.0868 | 37.3398 | 37.8464 | 38.6132 | 39.1849 | 39.8997 | 40.6577 | 41.2917 | 41.7823 | 42.051 | 42.1389 | 42.0602 | 42.0318 | 41.8115 | 41.6556 | 41.0992 | 40.7417 | 40.3285 | 39.9439 | 39.5975 | 37.0425 | 42.1762 | 39.7821
MACS_002_TT17.Val.PV | ID fan 02 bearing temperature motor NDE | °C | 37.1043 | 36.8361 | 36.7344 | 36.6553 | 36.9106 | 37.4726 | 38.2021 | 39.0217 | 39.6894 | 40.3717 | 41.0807 | 41.7616 | 42.4396 | 42.855 | 43.0135 | 42.9544 | 42.5502 | 41.9532 | 41.6348 | 40.713 | 40.2144 | 39.748 | 39.3465 | 38.9851 | 36.6274 | 43.0507 | 39.8573
MACS_003_TT16.Val.PV | ID fan 03 bearing temperature motor DE | °C | 48.1965 | 48.3569 | 48.7933 | 49.6455 | 51.5735 | 54.2 | 56.1799 | 58.0274 | 59.6025 | 60.5394 | 61.1267 | 61.2718 | 61.154 | 60.7145 | 60.073 | 58.9581 | 56.4635 | 55.0785 | 54.6266 | 53.5707 | 52.9394 | 52.2353 | 51.8932 | 51.4754 | 48.0269 | 61.3265 | 55.2963
MACS_003_TT17.Val.PV | ID fan 03 bearing temperature motor NDE | °C | 32.235 | 32.4104 | 32.8392 | 34.0127 | 36.2461 | 38.8411 | 40.5472 | 42.3986 | 43.6969 | 44.3557 | 44.8174 | 44.7196 | 44.4991 | 43.9603 | 43.1697 | 41.9207 | 39.4656 | 38.3538 | 37.9973 | 36.6829 | 36.4008 | 35.8729 | 35.6068 | 35.142 | 32.1647 | 44.9662 | 39.0382
MACS_004_TT16.Val.PV | ID fan 04 bearing temperature motor DE | °C | 46.7736 | 47.4439 | 47.3966 | 47.7465 | 50.3025 | 53.1995 | 55.1673 | 56.9401 | 58.2763 | 59.4071 | 60.3466 | 60.8953 | 60.9585 | 61.0798 | 60.9417 | 60.0848 | 57.5795 | 54.4993 | 53.2415 | 51.9838 | 51.3209 | 50.2473 | 50.0468 | 49.486 | 46.278 | 61.138 | 54.4296
MACS_004_TT17.Val.PV | ID fan 04 bearing temperature motor NDE | °C | 32.1744 | 32.4993 | 32.6064 | 33.4732 | 35.9103 | 38.4327 | 39.9943 | 41.5045 | 42.6022 | 43.6638 | 44.4925 | 44.7019 | 44.5389 | 44.4745 | 44.0283 | 42.8088 | 40.0972 | 38.4145 | 37.7897 | 36.6619 | 36.2318 | 35.4904 | 35.2984 | 34.7898 | 31.9364 | 44.8413 | 38.8974
MACS_001_VT01.Val.PV | ID fan 01 bearing vibration level DE | mm/s | 1.5391 | 1.5384 | 1.5563 | 1.5536 | 1.566 | 1.5696 | 1.5231 | 1.4514 | 1.436 | 1.4233 | 1.4241 | 1.4321 | 1.4234 | 1.4239 | 1.4324 | 1.4762 | 1.5392 | 1.5634 | 1.5681 | 1.5911 | 1.6033 | 1.6045 | 1.5982 | 1.6025 | 1.1287 | 1.9125 | 1.5164
MACS_001_VT02.Val.PV | ID fan 01 bearing vibration level NDE | mm/s | 1.5778 | 1.5708 | 1.5812 | 1.5768 | 1.5822 | 1.6005 | 1.5935 | 1.5716 | 1.5906 | 1.5902 | 1.5868 | 1.5961 | 1.5784 | 1.5626 | 1.552 | 1.5661 | 1.5834 | 1.5827 | 1.5836 | 1.5904 | 1.5936 | 1.5981 | 1.5947 | 1.5958 | 1.3436 | 1.8432 | 1.5833
MACS_002_VT01.Val.PV | ID fan 02 bearing vibration level DE | mm/s | 0.15039 | 0.15336 | 0.15481 | 0.15333 | 0.15657 | 0.1538 | 0.15239 | 0.15318 | 0.16361 | 0.15646 | 0.15493 | 0.15992 | 0.16469 | 0.15463 | 0.14902 | 0.14438 | 0.13606 | 0.13359 | 0.23275 | 0.14643 | 0.14523 | 0.15019 | 0.15209 | 0.15578 | -0.037477 | 0.37485 | 0.15197
MACS_002_VT02.Val.PV | ID fan 02 bearing vibration level NDE | mm/s | 0.22288 | 0.22303 | 0.2233 | 0.22154 | 0.22742 | 0.22226 | 0.22301 | 0.22811 | 0.23445 | 0.22794 | 0.2287 | 0.23717 | 0.24418 | 0.2343 | 0.22856 | 0.22597 | 0.21773 | 0.21055 | 0.30056 | 0.21966 | 0.21861 | 0.21991 | 0.2214 | 0.22329 | 0.00041485 | 0.42421 | 0.2254
MACS_003_VT01.Val.PV | ID fan 03 bearing vibration level DE | mm/s | 3.4225 | 3.3903 | 3.3864 | 3.347 | 3.4485 | 3.4507 | 3.459 | 3.4494 | 3.4947 | 3.5154 | 3.5221 | 3.5557 | 3.5544 | 3.5353 | 3.5197 | 3.5328 | 3.525 | 3.4901 | 3.3904 | 3.5143 | 3.5165 | 3.5133 | 3.4999 | 3.4998 | 3.1036 | 3.8031 | 3.4846
MACS_003_VT02.Val.PV | ID fan 03 bearing vibration level NDE | mm/s | 1.6849 | 1.6649 | 1.663 | 1.6354 | 1.7228 | 1.7419 | 1.7559 | 1.7638 | 1.8165 | 1.843 | 1.8508 | 1.8848 | 1.8956 | 1.8773 | 1.8615 | 1.8486 | 1.8133 | 1.7831 | 1.667 | 1.7898 | 1.7857 | 1.7802 | 1.7646 | 1.7601 | 1.4134 | 2.1433 | 1.7821
MACS_004_VT01.Val.PV | ID fan 04 bearing vibration level DE | mm/s | 0.25282 | 0.24754 | 0.24515 | 0.243 | 0.26127 | 0.26215 | 0.26504 | 0.26272 | 0.26599 | 0.26053 | 0.25819 | 0.25263 | 0.24945 | 0.24356 | 0.2444 | 0.24505 | 0.2426 | 0.23558 | 0.20463 | 0.24066 | 0.23771 | 0.2398 | 0.2421 | 0.2414 | 0.10811 | 0.47058 | 0.24947
MACS_004_VT02.Val.PV | ID fan 04 bearing vibration level NDE | mm/s | 0.41063 | 0.41732 | 0.40645 | 0.40822 | 0.40938 | 0.40002 | 0.38898 | 0.39045 | 0.38416 | 0.38091 | 0.37966 | 0.38534 | 0.38361 | 0.37519 | 0.37641 | 0.38289 | 0.39326 | 0.3812 | 0.42022 | 0.39693 | 0.39394 | 0.39258 | 0.39823 | 0.40448 | 0.17292 | 0.68397 | 0.39307
MDPO_801_ZT01.Val.PV | ID fan 01 inlet damper position | % | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
MDPO_802_ZT01.Val.PV | ID fan 02 inlet damper position | % | 2.8367 | 2.8402 | 2.8386 | 2.8382 | 2.8286 | 2.8164 | 2.808 | 2.7978 | 2.7884 | 2.7796 | 2.7737 | 2.7734 | 2.7763 | 2.7784 | 2.7807 | 2.7848 | 2.7976 | 2.8054 | 2.8086 | 2.8122 | 2.8129 | 2.8157 | 2.8148 | 2.8155 | 2.7674 | 2.8459 | 2.805
MDPO_803_ZT01.Val.PV | ID fan 03 inlet damper position | % | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
MDPO_804_ZT01.Val.PV | ID fan 04 inlet damper position | % | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95 | 95
MACS_001_M1_II01.Val.PV | ID fan 01 motor amperage | A | 97.1542 | 97.2708 | 97.9708 | 97.5958 | 96.4014 | 96.2486 | 95.9208 | 95.2588 | 94.8486 | 94.5819 | 94.7139 | 95.0125 | 95.1847 | 95.125 | 95.0708 | 95.6792 | 96.1944 | 96.4431 | 96.4 | 96.7333 | 96.9097 | 97.0514 | 97.0125 | 97.0611 | 94 | 99 | 96.1532
MACS_002_M1_II01.Val.PV | ID fan 02 motor amperage | A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
MACS_003_M1_II01.Val.PV | ID fan 03 motor amperage | A | 88.45 | 88.4694 | 89.0097 | 88.7556 | 87.9611 | 87.7792 | 87.2125 | 86.9148 | 86.6528 | 86.4556 | 86.4333 | 86.7583 | 86.9014 | 86.8931 | 86.7764 | 87.1014 | 87.6556 | 87.8486 | 88 | 88 | 88.0847 | 88.2514 | 88.2028 | 88.3625 | 85 | 90 | 87.6084
MACS_004_M1_II01.Val.PV | ID fan 04 motor amperage | A | 87.9611 | 87.9264 | 88.5153 | 88.1819 | 87.2153 | 87.1181 | 86.8708 | 86.1842 | 86.0347 | 85.9167 | 85.9153 | 86.0264 | 86.1597 | 86.1611 | 86.1444 | 86.6056 | 87.0097 | 87.1431 | 87.4 | 87.3736 | 87.6569 | 87.8986 | 87.8264 | 87.9125 | 85 | 89 | 87.0363
MACS_001_TT10.Val.PV | ID fan 01 motor windings temperature | °C | 70.0951 | 70.2861 | 71.0523 | 72.0727 | 74.4106 | 77.6243 | 79.3116 | 80.9755 | 82.3459 | 83.1183 | 83.8071 | 83.6816 | 83.5774 | 82.5067 | 81.5001 | 80.4676 | 78.284 | 76.9434 | 76.4192 | 75.4025 | 74.9703 | 74.0931 | 73.881 | 73.3548 | 69.9982 | 83.98 | 77.5408
MACS_001_TT11.Val.PV | ID fan 01 motor windings temperature | °C | 67.3563 | 67.5771 | 68.3124 | 69.3653 | 71.8124 | 74.9838 | 76.6268 | 78.2704 | 79.5956 | 80.4313 | 81.1248 | 80.9281 | 80.7971 | 79.7162 | 78.7586 | 77.6768 | 75.4855 | 74.1981 | 73.7094 | 72.6854 | 72.2149 | 71.3522 | 71.15 | 70.6294 | 67.2124 | 81.367 | 74.814
MACS_002_TT10.Val.PV | ID fan 02 motor windings temperature | °C | 38.8078 | 38.4998 | 38.2235 | 37.9979 | 37.8461 | 37.7924 | 37.8485 | 38.0211 | 38.241 | 38.5006 | 38.8009 | 39.1197 | 39.4457 | 39.748 | 39.9867 | 40.1588 | 40.2647 | 40.295 | 40.2814 | 40.1515 | 40.0207 | 39.8617 | 39.6778 | 39.4832 | 37.769 | 40.3231 | 39.0829
MACS_002_TT11.Val.PV | ID fan 02 motor windings temperature | °C | 39.5553 | 39.2369 | 38.9646 | 38.7277 | 38.559 | 38.493 | 38.5297 | 38.6767 | 38.8739 | 39.1295 | 39.4645 | 39.8323 | 40.2297 | 40.5603 | 40.7864 | 40.9424 | 41.0339 | 41.056 | 41.0449 | 40.8924 | 40.7503 | 40.5838 | 40.3946 | 40.2023 | 38.4747 | 41.0726 | 39.8085
MACS_003_TT10.Val.PV | ID fan 03 motor windings temperature | °C | 66.0509 | 66.1923 | 67.0086 | 68.2024 | 70.2692 | 73.1084 | 74.9936 | 76.8775 | 78.3587 | 79.0272 | 79.4683 | 79.5109 | 79.3788 | 78.9126 | 78.0033 | 76.8222 | 74.3179 | 72.8534 | 72.393 | 71.0669 | 70.6779 | 70.101 | 69.8551 | 69.3586 | 65.8928 | 79.6612 | 73.4824
MACS_003_TT11.Val.PV | ID fan 03 motor windings temperature | °C | 61.3941 | 61.5552 | 62.2777 | 63.5753 | 65.8153 | 68.5951 | 70.4197 | 72.3353 | 73.7452 | 74.4374 | 74.8863 | 74.823 | 74.6576 | 74.1697 | 73.2427 | 71.9711 | 69.4087 | 68.1232 | 67.7709 | 66.3688 | 65.9994 | 65.4628 | 65.2102 | 64.7198 | 61.2218 | 75.0818 | 68.8201
MACS_004_TT10.Val.PV | ID fan 04 motor windings temperature | °C | 68.0317 | 68.389 | 68.865 | 69.7094 | 71.8678 | 74.5748 | 76.2956 | 77.813 | 78.9679 | 80.0436 | 80.9087 | 81.3798 | 81.3477 | 81.3345 | 80.8722 | 79.8722 | 77.2801 | 75.2646 | 74.5006 | 73.2674 | 72.7926 | 71.9861 | 71.8017 | 71.274 | 67.8408 | 81.4513 | 75.3786
MACS_004_TT11.Val.PV | ID fan 04 motor windings temperature | °C | 66.4333 | 66.7844 | 67.2218 | 68.0832 | 70.2861 | 72.9927 | 74.7228 | 76.2388 | 77.3906 | 78.4631 | 79.331 | 79.7672 | 79.7266 | 79.7142 | 79.2627 | 78.2582 | 75.6606 | 73.6537 | 72.8901 | 71.6363 | 71.1532 | 70.3473 | 70.1564 | 69.6403 | 66.2489 | 79.8293 | 73.7691
MACS_001_TT12.Val.PV | ID fan 01 motor windings temperature | °C | 75.2626 | 75.4522 | 76.2605 | 77.2103 | 79.4465 | 82.7245 | 84.4966 | 86.1588 | 87.5815 | 88.3764 | 89.0733 | 89.0164 | 88.9352 | 87.9074 | 86.8636 | 85.8657 | 83.6954 | 82.2541 | 81.6972 | 80.6864 | 80.2603 | 79.3354 | 79.12 | 78.5863 | 75.1238 | 89.3114 | 82.7936
MACS_002_TT12.Val.PV | ID fan 02 motor windings temperature | °C | 39.7083 | 39.3829 | 39.1372 | 38.9141 | 38.7743 | 38.7566 | 38.8319 | 38.9831 | 39.174 | 39.4374 | 39.7881 | 40.1797 | 40.6606 | 40.9883 | 41.1781 | 41.2974 | 41.3584 | 41.3353 | 41.2947 | 41.0836 | 40.9059 | 40.7115 | 40.5085 | 40.3058 | 38.7238 | 41.3849 | 40.066
MACS_003_TT12.Val.PV | ID fan 03 motor windings temperature | °C | 65.2636 | 65.3818 | 66.1153 | 67.3422 | 69.4905 | 72.3164 | 74.1932 | 76.0869 | 77.5578 | 78.3127 | 78.7505 | 78.7403 | 78.5943 | 78.1235 | 77.2383 | 76.0417 | 73.5179 | 72.0899 | 71.6507 | 70.2957 | 69.8911 | 69.3384 | 69.1048 | 68.6079 | 65.1387 | 78.926 | 72.699
MACS_004_TT12.Val.PV | ID fan 04 motor windings temperature | °C | 61.882 | 62.256 | 62.6556 | 63.6115 | 65.9366 | 68.5811 | 70.205 | 71.7214 | 72.8558 | 73.9136 | 74.757 | 75.106 | 75.0225 | 75.0006 | 74.5013 | 73.3768 | 70.6844 | 68.8066 | 68.0921 | 66.9572 | 66.4931 | 65.7243 | 65.549 | 65.0187 | 61.6616 | 75.2078 | 69.1465
MACS_001_M1_VT01.Val.PV | ID fan 01 motor vibration level DE | mm/s | 1.1394 | 1.1282 | 1.1307 | 1.1232 | 1.1224 | 1.1111 | 1.0747 | 1.0005 | 0.95352 | 0.93037 | 0.92042 | 0.93137 | 0.94391 | 0.97784 | 1.0078 | 1.0444 | 1.0925 | 1.1202 | 1.2285 | 1.1321 | 1.1444 | 1.1453 | 1.1484 | 1.1479 | 0.75427 | 1.3471 | 1.0642
MACS_001_M1_VT02.Val.PV | ID fan 01 motor vibration level NDE | mm/s | 1.003 | 0.99435 | 0.99727 | 0.98477 | 0.93201 | 0.90009 | 0.84579 | 0.76379 | 0.72661 | 0.70182 | 0.6843 | 0.69423 | 0.70025 | 0.72791 | 0.75922 | 0.81602 | 0.89046 | 0.94578 | 1.1135 | 0.98982 | 1.0053 | 1.0176 | 1.0187 | 1.0299 | 0.51395 | 1.2748 | 0.87567
MACS_002_M1_VT01.Val.PV | ID fan 02 motor vibration level DE | mm/s | 0.17912 | 0.17999 | 0.17868 | 0.18014 | 0.1777 | 0.17765 | 0.17854 | 0.18118 | 0.18293 | 0.18205 | 0.18491 | 0.18682 | 0.18069 | 0.17771 | 0.17431 | 0.17533 | 0.17525 | 0.17597 | 0.19376 | 0.18397 | 0.17937 | 0.1813 | 0.17954 | 0.18013 | 0.060742 | 0.36388 | 0.17971
MACS_002_M1_VT02.Val.PV | ID fan 02 motor vibration level NDE | mm/s | 0.19401 | 0.19081 | 0.18924 | 0.19266 | 0.18868 | 0.18581 | 0.19016 | 0.19602 | 0.20461 | 0.20443 | 0.1992 | 0.22499 | 0.1975 | 0.18802 | 0.18619 | 0.18628 | 0.18219 | 0.18643 | 0.17582 | 0.18852 | 0.18774 | 0.18902 | 0.18888 | 0.19044 | 0 | 2.4694 | 0.19267
MACS_003_M1_VT01.Val.PV | ID fan 03 motor vibration level DE | mm/s | 0.95112 | 0.94597 | 0.94931 | 0.94814 | 0.95676 | 0.94999 | 0.93476 | 0.92017 | 0.93474 | 0.94948 | 0.95132 | 0.95453 | 0.95223 | 0.94562 | 0.9453 | 0.95924 | 0.97986 | 0.97397 | 0.98371 | 0.97833 | 0.98276 | 0.97908 | 0.98315 | 0.98302 | 0.83205 | 1.0793 | 0.95705
MACS_003_M1_VT02.Val.PV | ID fan 03 motor vibration level NDE | mm/s | 0.60639 | 0.6029 | 0.61562 | 0.62359 | 0.61307 | 0.60748 | 0.58918 | 0.57236 | 0.56398 | 0.55716 | 0.54538 | 0.55326 | 0.54987 | 0.54758 | 0.54996 | 0.57017 | 0.58405 | 0.57711 | 0.56481 | 0.58069 | 0.58682 | 0.59152 | 0.58791 | 0.58969 | 0.41822 | 1.0948 | 0.58115
MACS_004_M1_VT01.Val.PV | ID fan 04 motor vibration level DE | mm/s | 0.73046 | 0.71229 | 0.72366 | 0.72335 | 0.71443 | 0.70184 | 0.70722 | 0.70558 | 0.70206 | 0.69777 | 0.68826 | 0.68586 | 0.68628 | 0.68031 | 0.68121 | 0.70226 | 0.71254 | 0.72901 | 0.70969 | 0.71512 | 0.72525 | 0.72827 | 0.72616 | 0.72551 | 0.55533 | 1.0489 | 0.70891
MACS_004_M1_VT02.Val.PV | ID fan 04 motor vibration level NDE | mm/s | 0.54505 | 0.54399 | 0.54056 | 0.56644 | 0.57423 | 0.57478 | 0.57887 | 0.59087 | 0.58429 | 0.58643 | 0.59749 | 0.58035 | 0.58736 | 0.57681 | 0.5744 | 0.57867 | 0.56616 | 0.55875 | 0.55244 | 0.56016 | 0.55514 | 0.55458 | 0.55976 | 0.56248 | 0.43917 | 0.73831 | 0.56938
PHPH_001_PIC01.Val.CV | Fresh alumina flow control valve position | % | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 99.8478 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | 100 | 99.9939
Filter_Running | Number of filters in operation |  | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18 | 18
MKBB_017_FY01.Val.PV | Filter 01 Gas flow | Nm3/s | 17.2486 | 18.9131 | 19.9703 | 20.5636 | 21.1623 | 22.7655 | 22.3455 | 21.7208 | 21.4452 | 22.0892 | 21.7026 | 19.3306 | 18.3774 | 18.2846 | 18.269 | 18.8469 | 19.6341 | 19.516 | 20.5604 | 20.032 | 19.9713 | 19.103 | 18.294 | 18.2963 | 15.246 | 23.8803 | 19.9012
MKBB_027_FY01.Val.PV | Filter 02 Gas flow | Nm3/s | 31.4126 | 31.2747 | 30.4235 | 31.0508 | 31.1344 | 30.2249 | 30.7045 | 31.9514 | 31.3676 | 31.1946 | 29.4098 | 30.4511 | 31.1621 | 31.067 | 31.2395 | 31.976 | 33.5282 | 32.9998 | 32.5907 | 32.1487 | 31.8861 | 29.8226 | 29.7092 | 30.5031 | 28.602 | 35.0773 | 31.1558
MKBB_037_FY01.Val.PV | Filter 03 Gas flow | Nm3/s | 19.0155 | 20.0317 | 19.5084 | 18.8171 | 19.1051 | 19.3715 | 19.2966 | 19.2627 | 20.0526 | 19.7769 | 18.4848 | 17.2445 | 15.3581 | 15.4843 | 15.1968 | 15.2365 | 15.6736 | 16.2905 | 16.7539 | 17.2306 | 16.7635 | 15.7173 | 15.056 | 15.1231 | 13.3396 | 21.6986 | 17.5191
MKBB_047_FY01.Val.PV | Filter 04 Gas flow | Nm3/s | 22.5119 | 22.3724 | 21.1026 | 19.9457 | 19.527 | 18.5565 | 18.9571 | 18.4719 | 19.3568 | 19.0016 | 18.7623 | 17.4219 | 16.6663 | 16.8231 | 16.5894 | 17.1397 | 17.7111 | 17.772 | 17.8594 | 17.8162 | 16.7468 | 16.4022 | 15.88 | 15.8066 | 14.8552 | 23.1721 | 18.3185
MKBB_057_FY01.Val.PV | Filter 05 Gas flow | Nm3/s | 19.061 | 18.8827 | 19.6465 | 19.7467 | 21.2529 | 20.7832 | 21.3744 | 21.0661 | 20.9714 | 21.8478 | 23.1872 | 22.86 | 19.6845 | 18.208 | 18.0329 | 18.4997 | 19.1932 | 19.4141 | 19.1561 | 18.779 | 19.3362 | 19.0743 | 19.4145 | 19.3845 | 0 | 24.2918 | 19.9826
MKBB_067_FY01.Val.PV | Filter 06 Gas flow | Nm3/s | 18.1615 | 19.2055 | 19.367 | 18.2825 | 19.5816 | 19.5528 | 19.9208 | 20.5367 | 19.9639 | 19.4178 | 19.3862 | 19.2189 | 20.6619 | 19.7197 | 19.9036 | 19.7545 | 19.7674 | 21.2442 | 20.1426 | 20.6731 | 20.9939 | 19.7947 | 19.6498 | 20.233 | 0 | 24.0542 | 19.7794
MKBB_077_FY01.Val.PV | Filter 07 Gas flow | Nm3/s | 19.2478 | 18.7994 | 19.1787 | 19.0444 | 17.4273 | 17.6047 | 17.8403 | 18.1382 | 17.1097 | 15.559 | 16.7579 | 18.5102 | 20.7992 | 21.8436 | 21.8048 | 21.7382 | 19.9234 | 19.0962 | 19.6383 | 15.3066 | 16.8329 | 19.0337 | 19.7881 | 20.1033 | 0 | 23.0166 | 18.763
MKBB_087_FY01.Val.PV | Filter 08 Gas flow | Nm3/s | 26.1438 | 25.981 | 26.5664 | 26.2325 | 25.6274 | 26.0874 | 26.0387 | 26.3102 | 27.4759 | 25.948 | 25.6341 | 25.5091 | 26.451 | 27.2757 | 27.3336 | 27.2089 | 28.4635 | 28.7327 | 28.1684 | 28.6605 | 29.0442 | 30.2241 | 30.5031 | 29.7838 | 0 | 31.6611 | 27.275
MKBB_097_FY01.Val.PV | Filter 09 Gas flow | Nm3/s | 17.3099 | 16.8312 | 16.7156 | 17.0031 | 17.2879 | 17.5902 | 17.9014 | 18.4676 | 18.1628 | 19.8962 | 19.091 | 19.1935 | 20.9852 | 22.4821 | 23.2571 | 21.1387 | 18.6497 | 17.6836 | 18.1671 | 21.237 | 19.7686 | 20.5769 | 21.8522 | 20.1926 | 0 | 25.2125 | 19.2755
MKBB_107_FY01.Val.PV | Filter 10 Gas flow | Nm3/s | 20.6785 | 19.8288 | 20.2718 | 20.0977 | 20.49 | 20.8271 | 20.3662 | 20.688 | 20.0805 | 19.7741 | 19.2515 | 19.5675 | 19.3732 | 19.2023 | 18.615 | 18.7426 | 19.6434 | 19.3725 | 19.6758 | 19.9474 | 20.6486 | 21.2222 | 22.6526 | 23.4782 | 0 | 24.3118 | 20.2076
MKBB_117_FY01.Val.PV | Filter 11 Gas flow | Nm3/s | 24.2831 | 24.1217 | 23.7604 | 23.6782 | 24.2144 | 24.0311 | 24.5059 | 25.7158 | 25.7662 | 25.5643 | 26.1409 | 25.9222 | 25.6356 | 25.4489 | 24.8689 | 25.3568 | 25.405 | 24.9217 | 24.2765 | 23.6461 | 23.7247 | 23.6613 | 23.1814 | 23.5049 | 0 | 27.4778 | 24.6506
MKBB_127_FY01.Val.PV | Filter 12 Gas flow | Nm3/s | 21.2583 | 20.7702 | 20.6053 | 20.9349 | 21.2166 | 21.115 | 21.2012 | 21.8746 | 21.5223 | 20.7789 | 20.4437 | 21.2562 | 21.1789 | 20.971 | 20.8486 | 21.3096 | 22.1076 | 21.618 | 21.0752 | 21.1707 | 21.6618 | 21.1526 | 20.9343 | 21.0259 | 0 | 24.1055 | 21.1693
MKBB_137_FY01.Val.PV | Filter 13 Gas flow | Nm3/s | 33.3196 | 33.1162 | 32.7844 | 33.0161 | 33.1203 | 32.8774 | 32.9628 | 33.6679 | 33.3124 | 32.0827 | 32.1202 | 32.8133 | 33.3466 | 33.1574 | 32.9378 | 33.294 | 34.7519 | 34.1218 | 33.295 | 33.9401 | 34.08 | 32.8244 | 32.933 | 32.9601 | 0 | 36.276 | 33.1956
MKBB_147_FY01.Val.PV | Filter 14 Gas flow | Nm3/s | 19.2884 | 18.5313 | 17.6613 | 17.4924 | 19.3622 | 19.4036 | 19.4797 | 19.8106 | 20.4078 | 20.0928 | 20.2947 | 20.9939 | 20.6213 | 19.9647 | 19.644 | 19.973 | 20.2923 | 20.0758 | 19.4757 | 20.382 | 20.4189 | 19.9366 | 19.4705 | 19.6789 | 0 | 22.4322 | 19.7072
MKBB_157_FY01.Val.PV | Filter 15 Gas flow | Nm3/s | 21.6579 | 22.19 | 22.0578 | 21.7989 | 20.8891 | 20.7823 | 19.6867 | 16.5649 | 17.4127 | 19.457 | 19.775 | 21.0641 | 21.1141 | 22.3877 | 23.241 | 22.3834 | 19.3881 | 20.5633 | 21.7516 | 20.3855 | 21.1746 | 22.1484 | 22.5933 | 22.8732 | 0 | 27.2941 | 20.9556
MKBB_167_FY01.Val.PV | Filter 16 Gas flow | Nm3/s | 24.7456 | 23.671 | 24.0398 | 24.246 | 24.2682 | 24.7971 | 23.5404 | 23.2505 | 23.9678 | 24.8795 | 25.2718 | 26.4337 | 27.6149 | 27.8473 | 28.778 | 28.0373 | 25.1581 | 24.0437 | 23.7211 | 25.0284 | 24.8135 | 24.7015 | 23.7865 | 23.8748 | 0 | 30.6727 | 25.0846
MKBB_177_FY01.Val.PV | Filter 17 Gas flow | Nm3/s | 13.261 | 13.2528 | 13.6727 | 13.5177 | 13.4634 | 13.6621 | 17.5473 | 19.1858 | 20.5705 | 20.2138 | 20.4792 | 19.5128 | 17.3769 | 15.6204 | 14.7729 | 15.2151 | 15.9134 | 15.7085 | 16.1771 | 16.2217 | 16.0982 | 15.8247 | 15.1781 | 14.8494 | 0 | 22.8371 | 16.124
MKBB_187_FY01.Val.PV | Filter 18 Gas flow | Nm3/s | 31.2094 | 29.6548 | 29.935 | 30.4607 | 30.2441 | 28.9229 | 26.2894 | 25.6686 | 27.4889 | 28.8821 | 29.915 | 30.1406 | 28.9682 | 27.9721 | 27.7671 | 28.5549 | 29.3137 | 28.8885 | 30.0823 | 30.2282 | 30.0252 | 29.9093 | 29.0603 | 28.7571 | 0 | 33.2791 | 29.0679
MDRM_600_FY01.Val.PV | Gas flow at inlet West section 8 | Nm3/s | 74.8645 | 75.8025 | 76.0805 | 75.5929 | 74.8668 | 75.981 | 74.5902 | 74.739 | 75.4 | 73.7138 | 74.0357 | 71.6885 | 73.5066 | 73.6405 | 73.4698 | 71.8826 | 73.9612 | 73.3745 | 75.0349 | 73.7397 | 74.0867 | 73.0196 | 74.6406 | 73.9956 | 47.9322 | 89.4521 | 74.2014
MDRM_600_FY02.Val.PV | Gas flow at inlet West section 1 | Nm3/s | 131.5284 | 132.4424 | 132.1008 | 130.9484 | 131.2877 | 130.3509 | 130.9096 | 131.593 | 130.9348 | 130.7437 | 129.5165 | 127.387 | 128.1288 | 128.62 | 128.8418 | 128.3849 | 129.138 | 130.1853 | 129.7132 | 130.7068 | 130.6765 | 130.9116 | 131.6596 | 130.836 | 122.9352 | 133.5901 | 130.3356
MDRM_600_FY03.Val.PV | Gas flow at inlet West section 2 | Nm3/s | 93.2823 | 91.289 | 90.2767 | 90.6554 | 92.695 | 92.0873 | 90.3781 | 92.0429 | 94.6486 | 94.754 | 96.5575 | 97.9334 | 96.3707 | 94.4848 | 93.4571 | 94.2618 | 93.3436 | 92.5583 | 93.1956 | 94.1717 | 94.7833 | 94.2329 | 94.0554 | 94.89 | 81.7483 | 103.5537 | 93.6237
MDRM_600_FY04.Val.PV | Gas flow at inlet East section 7 | Nm3/s | 96.2919 | 93.8875 | 93.4625 | 94.2119 | 95.8423 | 96.1328 | 95.7676 | 96.6573 | 98.7153 | 99.4097 | 101.2099 | 103.2132 | 101.9578 | 99.8496 | 98.9911 | 99.3697 | 97.7525 | 96.8938 | 96.6226 | 98.3708 | 98.3109 | 97.3649 | 97.4057 | 97.7234 | 89.1577 | 106.1007 | 97.7775
MDRM_600_FY05.Val.PV | Gas flow at inlet East section 1 and 8 | Nm3/s | 207.153 | 209.0044 | 208.9401 | 207.3016 | 206.9154 | 207.0915 | 206.2606 | 207.0927 | 207.0953 | 205.2192 | 204.3124 | 199.8365 | 202.3943 | 203.0209 | 203.0721 | 201.0277 | 203.8593 | 204.3203 | 205.5082 | 205.2072 | 205.5242 | 204.6921 | 207.0613 | 205.5908 | 178.6055 | 222.0717 | 205.2973
MDRM_600_FY06.Val.PV | Gas flow at inlet East section 2 and 7 | Nm3/s | 189.7782 | 185.376 | 183.9408 | 185.0746 | 188.7472 | 188.4232 | 186.3525 | 188.8985 | 193.5642 | 194.3756 | 197.9658 | 201.3582 | 198.5322 | 194.539 | 192.6549 | 193.8371 | 191.2994 | 189.6564 | 189.9124 | 192.7536 | 193.3016 | 191.7985 | 191.668 | 192.8122 | 171.4923 | 207.1377 | 191.6058
PHPH_001_PIT01.Val.PV | Fresh Alumina HDPS Bubble Pressure | kPa | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
PHPH_001_PIT02.Val.PV | Fresh Alumina HDPS Fluidizing Pressure | kPa | 14.5473 | 14.5129 | 14.6326 | 14.5809 | 14.4058 | 14.5694 | 14.5141 | 14.4614 | 14.3537 | 14.2503 | 14.2353 | 14.2743 | 14.3492 | 14.3481 | 14.3696 | 14.496 | 14.5706 | 14.6223 | 14.6549 | 14.516 | 14.5414 | 14.5481 | 14.5351 | 14.5348 | 11.3809 | 14.8135 | 14.4683