## Daily Report
BHARAT ALUMINIUM COMPANY LIMITED ( PLANT- II ) POTLINE, FUME TREATMENT PLANT
|  | DAILY REPORT (CONTROL ROOM) |  | DATE | 18-May-26
Equipment | Sub Equipment | Tag Name | Tag Description | Unit | 5 AM To 6 AM | 6 AM To 7 AM | 7 AM To 8 AM | 8 AM To 9 AM | 9 AM To 10 AM | 10 AM To 11 AM | 11 AM To 12 PM | 12 PM To 1 PM | 1 PM To 2 PM | 2 PM To 3 PM | 3 PM To 4 PM | 4 PM To 5 PM | 5 PM To 6 PM | 6 PM To 7 PM | 7 PM To 8 PM | 8 PM To 9 PM | 9 PM To 10 PM | 10 PM To 11 PM | 11 PM To 12 AM | 12 AM To 1 AM | 1 AM To 2 AM | 2 AM To 3 AM | 3 AM To 4 AM | 4 AM To 5 AM | MIN | MAX | AVG
BLOWER | AIR ROOT BLOWER-1 | PY1103A | ROOTS FAN OUTLET OF PRESSURE #1 | KPA | [14 empty] | 17.1 | 17.65 | [8 empty] | 11.95 | 22.15 | 17.38
BLOWER | AIR ROOT BLOWER-2 | PY1103B | ROOTS FAN OUTLET OF PRESSURE #2 | KPA | [14 empty] | 16.5 | 15.54 | [8 empty] | 13.98 | 19.02 | 16.02
DUCT | DUCT INLET-1 | PY1101A | FILTER INLET PRESSURE 1# | [15 empty] | 1.11 | 1.1 | [8 empty] | 0.59 | 1.61 | 1.1
| DUCT INLET-2 | PY1101B | FILTER INLET PRESSURE 2# | [15 empty] | 1.1 | 1.06 | [8 empty] | 0.79 | 1.41 | 1.08
ID FAN | ID FAN-1 | TY1101A | 1# ID FAN FRONT BEARING TEMPERATURE | °C | [14 empty] | 58.39 | 58.52 | [8 empty] | 45 | 72 | 58.45